## BD
For best accessibility, use the arrow keys to navigate through this form. | [5 empty] | Texas Department of Housing & Community Affairs
BLOWER DOOR / DUCT BLASTER DATA SHEET (January 2017)
1. Client | [9 empty] | Job #
2. Sq. Ft of Unit |  |  |  | 3. Ceiling Height |  |  |  | 4. Total Volume |  | 0 | 5. ACH
Readings from Initial Assessment
ACH | 0 |  | MRV | 0 |  | R. T. | 0 | BTL | 0 |  |  | TARGET
6. Initial BD CFM Reading |  |  |  |  | cfm | @ |  | Pa | B/D Ring # |  |  | 0
7. Initial Total Duct Leakage |  |  |  |  | cfm | @ |  | Pa | D/B Ring # |  |  | FALSE
8. Initial WRTO Duct Leakage |  |  |  |  | cfm | @ |  | Pa | D/B Ring # |  |  | FALSE
9. Duct Operating Pressures BEFORE duct sealing | [5 empty] | Supply: |  |  | Return:
Subs should always work to air seal/duct seal as far below target as possible, while still remaining within scope of program.
10. Pressure Pan Readings (Pa) per Register @ Assessment | [8 empty] | 11. ASHRAE Readings @ Assessment
Return | Reg 1 | Reg 2 | Reg 3 | Reg 4 | Reg 5 | Reg 6 | Reg 7 |  |  | CFM | Term Out | Open Window?
V Hood
Reg 8 | Reg 9 | Reg 10 | Reg 11 | Reg 12 | Reg 13 | Reg 14 | TOTAL |  | Exh 1
[7 empty] | 0 |  | Exh 2
Exh 3
[9 empty] | # of bedrooms |  | 2
[9 empty] | # of occupants |  | 2
Readings from Final Inspection
Reduction Achieved
Reg 8: 12. Final BD CFM Reading; Reg 13: cfm; Reg 14: @ |  | Pa | B/D Ring # |  |  | #DIV/0!
Reg 8: 13. Final Total Duct Leakage; Reg 13: cfm; Reg 14: @ |  | Pa | D/B Ring # |  |  | #DIV/0!
Reg 8: 14. Final WRTO Duct Leakage; Reg 13: cfm; Reg 14: @ |  | Pa | D/B Ring # |  |  | #DIV/0!
Reg 8: 15. Duct Operating Pressures AFTER duct sealing; Reg 14: Supply: |  |  | Return:
Reg 8: 16. Pressure Pan Readings (Pa) per Register @ Final |  |  | 17. ASHRAE Readings @ Final
Return | Reg 1 | Reg 2 | Reg 3 | Reg 4 | Reg 5 | Reg 6 | Reg 7 |  |  | CFM | Term Out | Open Window?
V Hood
Reg 8 | Reg 9 | Reg 10 | Reg 11 | Reg 12 | Reg 13 | Reg 14 | TOTAL |  | Exh 1
[7 empty] | 0 |  | Exh 2
Reg 8: Pressure Pan Reduction Achieved:; Reg 12: #DIV/0! |  |  | Exh 3
Reg 8: 18. Did Sub meet Blower Door Target CFM? |  | Met Target
If NOT Met, have the weatherization crew do more effective air sealing work and/or document why unable to achieve targets.
Reg 8: 19. Did Sub meet Total Duct System Leakage Target CFM? |  | Met Target
Reg 8: 20. Did Sub meet WRTO Duct System Leakage Target CFM? |  | Met Target
If NOT Met, have the weatherization crew do more effective duct sealing work and/or document why unable to achieve targets.
21. Did Subrecipient maximize air and duct sealing measures to get final readings as low as possible within
allowable limits?
I certify that all the above referenced information is true and accurate.
Reg 8: Subrecipient Representative |  |  |  |  | Date